滤光片信息

平台现有的用红色标记，其他滤光片如有需要可提前联系厂家借用

Rev. 05/25/12                                                                                                                                                                                               1 | P

age

Rev. 05/25/12                                                                                                                                                                                               2 | P

age

age

# Text boxes

| Cube type: EXCITATION for DUAL emission assays (TR-FRET, FRET) |
| --- |
| Cube # | Paired with | Part number | Description / Application |  |
| 11 | 41 | 1035011 | HTRF-Europium excitation 330 nm |  |
| 12 | 42, 49 | 1035012 | HTRF Terbium / LanthaScreen Terbium excitation 340 nm |  |
| 13 | 43 | 1035013 | CFP-YFP FRET excitation 420 nm |  |
| 14 | 44, 46, 47 | 1035014 | FITC-TRITC, EGFP-Cy3, EGFP-YFP FRET excitation 485 |  |
| 15 | 45 | 1035015 | Cy3-Cy5 FRET excitation 540 nm |  |
| 16 | 48 | 1035016 | GeneBLAzer, Z-Lyte excitation 400 nm |  |
| 17 | 41 | 1035017 | LANCE excitation 360 nm |  |

| Cube type: SPECIAL |
| --- |
| Cube # | Paired with | Part number | Description / Application |  |
| 1 | 2 | 1035001 | Alpha Excitation 96/384 |  |
| 2 | 1 or 5 | 1035002 | Alpha Emission |  |
| 3 | 101 and up | 1035003 | Top single PMT fluorescence/ Luminescence |  |
| 4 | 61 to 70 | 1035004 | All Dual FP assays |  |
| 5 | 2 | 1035005 | Alpha Excitation 1536 |  |

| Cube type: EMISSION for DUAL emission assays (TR-FRET, FRET) |
| --- |
| Cube # | Paired with | Part number | Description / Application |  |
| 41 | 11, 17 | 1035041 | HTRF, LANCE red emission 620/665 nm |  |
| 42 | 12 | 1035042 | LanthaScreen emission 495/520 nm |  |
| 43 | 13 | 1035043 | CFP‐YFP FRET emission 485/540 |  |
| 44 | 14 | 1035044 | FITC‐TRITC FRET emission 528/575 nm |  |
| 45 | 15 | 1035045 | Cy3‐Cy5 FRET emission 590/680 |  |
| 46 | 14 | 1035046 | EGFP‐Cy3 FRET emission 516/590 |  |
| 47 | 14 | 1035047 | EGFP‐YFP FRET emission 516/540 |  |
| 48 | 16 | 1035048 | GeneBLAzer, Z‐Lyte emission 460/528 |  |
| 49 | 12 | 1035049 | HTRF green emission 520/620 |  |

| Cube type: DUAL FP cubes, paired with cube #4 |
| --- |
| Cube # | Paired with | Part number | Description / Application |  |
| 4 | 61 to 70 | 1035004 | REQUIRED to use cubes 61 to 70 | X |
| 61 | 4 | 1035061 | Dual FP Green 485/528 |  |
| 62 | 4 | 1035062 | Dual FP red1 530/590 |  |
| 63 | 4 | 1035063 | Dual FP red2 590/635 |  |
| 64 | 4 | 1035064 | Dual FP far red 620/680 |  |
| 65 | 4 | 1035065 | Dual FP double 485/528 – 530/590 |  |
| 66 | 4 | 1035066 | Dual FP UV 360/460 |  |

| Cube type: SINGLE PMT measurement (paired with cube #3 for top measurements) and bottom reading |
| --- |
| Cube # | Paired with | Part number | Description / Application |  |
| 101 | 3 for top | 1035101 | GFP excitation / emission - luminescence |  |
| 102 | 3 for top | 1035102 | GeneBLAzer |  |
| 102 | 3 for top | 1035103 | FITC-TRITC FRET |  |
| 104 | 3 for top | 1035104 | EGFP-Cy3 FRET |  |
| 105 | 3 for top | 1035105 | EGFP-YFP FRET |  |
| 106 | 3 for top | 1035106 | Cy3-Cy5 FRET |  |
| 107 | 3 for top | 1035107 | Blue (360/460) – Green (485/528) fluorescence |  |
| 108 | 3 for top | 1035108 | Green FP 485/528 |  |
| 109 | 3 for top | 1035109 | BRET2 410/515 |  |
| 110 | 3 for top | 1035110 | Far red FP 620/680 |  |
| 111 | 3 for top | 1035111 | Green (485/528) – Red (530/590) fluorescence |  |
| 112 | 3 for top | 1035112 | Delfia Europium 360/620 |  |
| 113 | 3 for top | 1035113 | Omnia (360/485) / Luminescence |  |